Updated: 20 June 2016

Errata and Supplements for the report: “Polarimetric Upgrades to Improve Rainfall Measurements; NOAA/NSSL’s WSR-88D Radar for Research and Enhancement of Operations; April 1998.

Preface to this errata and supplements:

The report “Polarimetric Upgrades to Improve Rainfall Measurements” has been a useful resource for transferring NSSL research results to the National Weather Service and its contractor Baron Services, Inc.  Because the dual polarimetric upgrades have been made by Baron Services to the network of WSR-88D radars at the time of this writing, it seemed useful to update the report with supplements and errata in case users of the data have interest in reviewing the report to learn the underlying engineering results upon which the upgrades have been based. Furthermore, if there are plans to make measurements of the copolar and cross-polar radiation patterns on KOUN after changes have been made by Baron Services, Inc., this updated report could serve as a baseline. The dual pol upgrades made to KOUN by NSSL were to allow radar meteorologists to thoroughly test over a period of years (ca. 2000 to 2010) the performance of the Polarimetric upgrades made to the KOUN before alternative dual pol modifications were made by Baron Services to the fleet of WSR-88Ds.

It is to be noted that the feed horn designed by Andrew Canada and used on the WSR-88Ds prior to conversion to dual-pol system generated a single prominent cross-polar lobe coaxial with the copolar beam. Moreover, Andrew Canada’s dual-pol feed installed on KOUN from ca. 1997-2009 also generated cross-polar fields similar to the single pol feed horn. All measurements made on the KOUN antenna and reported in the NSSL report are those obtain with Andrew Canada’s dual-pol feed. But the Baron Services’ dual-pol feed horn, now installed on all WSR-88Ds, generates a quad of prominent cross-polar lobes having alternating phases and located symmetrically about the copolar beam; moreover the Baron Services’ feed horn produces a null of cross-polar radiation along the copolar beam axis. Nevertheless, the copolar patterns of KOUN should agree with those obtained with the Andrew Canada feed if the aperture illumination is the same.

Thus this report and its errata could be useful for comparisons when and if measurements are to be made on KOUN or any of the WSR-88D after modifications made by Baron Services. The errata and supplemental material listed below, a result of the continuing collaboration and exchange between the Radar Operations Center and NSSL, should keep this report correct and current.

Page para.    Line

4	2	1	here and every else in the text, change 8.53 m to 8.534 m

4	ditto, change 0.111 m to 0.1109 m

5	1	5-6	change to read: “…are the maximum sidelobe levels specified by Unisys if.the antenna is without its radome. Maximum sidelobe levels given by the NEXRAD Technical Specification (NTR) number DV1208252G, plotted in Fig.7.28 of Doviak and Zrnic (1993), are 1 to 4 dB higher than that given in Fig. II.2(b). It is assumed the NTR specification applies to the antenna covered with a radome. Measurements of antenna ……”

7 Fig.II.2 (b) caption	change 2nd line to read:”….sidelobe levels without radome.”

12	0	6	change to read: ‘….Thus the scan in Fig.II.4 represents the E plane radiation pattern 0.05o above the principal plane.’

Fig.II.4(b) caption	at the end of the first line insert “of the antenna without a radome,”

16	1	11	change “might” to “should”, and at the end of this paragraph add: “This agreement also suggests that the ad hoc antenna range in Norman is likely suitable for pattern measurements to about the -20 dB level below the radiation peak.

Fig.II.5 caption	revise second line to “….for the NEXRAD antenna without a radome are given by…”

Fig.II.6			change the label: “calculated aperture illumination” to “calculated illumination on the reflector”. Although both labels are correct, this is not proven until p.26. At this point we have only calculated the illumination on the reflector’s surface.

22	3	6	change to read: “…(H, V) copolar and cross-polar fields might not..”

25	3	4	change to read: “would be smaller (smaller) than that measured after the change of….”

6	change to: “…Although this 0.1o difference is small, it is in a direction one would expect…”

10-12	change the last sentence to read: Moreover, the elevation angle to the radiation source also decreased after the feed change by an about 0.1o (compare…..) as expected if the single port feed was on axis.

25-26	5		change this paragraph to read: “In order to support the deductions that sidelobes along the 0o cut (Fig.II.1a) are principally due to the vertical spar blocking radiation from the aperture, and other anomalous sidelobes are due to scatter from the spars, feedhorn, and imperfections in the parabolic surface , we calculated the sidelobe levels without feed support spars assuming a perfectly made reflector. This calculation gives the radiation pattern outside the ridges of sidelobes due to the feed support spars. We use diffraction theory to compute the ……….. (Sherman 1970)”

26	1	1	change to read: “The dashed line in Fig.II.6 is the calculated illumination of the reflector’s surface. This calculation used the feed’s radiation pattern adjusted for the changing distance from the feed to points on the surface. The angle between……”

2	1-4	change to read: “In general the calculation of the actual radiation pattern requires calculation or measurement of the aperture distribution function and numerical analysis. But, we can obtain an estimate of the radiation pattern by fitting the measured aperture illumination function, assumed to be circularly symmetric, with an equation for which a theoretical pattern is known. The theoretical pattern is known if the electric field aperture distribution has the general form (Sherman, 1970, pp.9-21):

Eq.II.1 remains the same

where  is the radial distance…..”

3		because in this paragraph is different thanon p.27, change to  everywhere in this paragraph.

3		to clarify the derivation of Eq.(II.2), and to correct an error in computing the secondary radiation pattern, change this paragraph to read:

“The following normalized power density (in dB) across the aperture, as derived from (II.1), is

(II.2a)

To compare this theoretical aperture distribution with that calculated from Fig.II.6, we convert the dependence on  to one on  by substituting  to obtain

Equation II.2 is relabeled as (II.2b)

where  is the angle subtended by the line connecting the reflector’s vertex to the focus and the line drawn from the focus to a point in the aperture. To relate the electric field incident on the surface of the reflector to the aperture illumination function we use the fact that the amplitude of the field at a point ‘A’ on the reflector’s surface is the same as that in the aperture plane at the point which lies on a line passing through point ‘A’ and parallel to the axis of the reflector (Fradin 1961, p.381). Thus the calculated aperture illumination function (Fig.II.6), calculated from the measured primary radiation pattern, can be compared with the illumination functionacross the aperture. That is, the radiation intensity given by the dashed line in Fig.II.6 and the power density given by (II.2) are both the aperture illumination functions. The factor raised to the mth power ……… ……….and its diameter 2= 853.4 cm into (II.2b), we have plotted in a revised Fig.II.6 the theoretical aperture distribution for m = 3 (the fitting was tested for m  = 2, 2.5, and 3; m = 3 produced the best fit to the dashed curve in Fig.II.6 over the angular interval . This angular interval is where the illumination is most intense. The curves for m = 2.5 and 2.0 fit the calculated aperture illumination better near the edge of the reflector, but there the illumination is weakest. It is most important to have the best fit of a theoretical aperture distribution at locations where the illumination is most intense.”

27	1	5	change to read: “….patterns (for m = 3, and b = 0.16) and ….”

Eq.II.3		this equation should be revised to:

(II.3)

where

,	(II.4)

and is the polar angle measured from the axis of the reflector and a radial to a far field point. This theoretical function ignores changes in sidelobe levels due to spar blockage and reflector surface departure from a parabolic shape. The first term in this equation is the secondary radiation pattern due to the tapered illumination component [i.e., the first term in (II.1)], and the second term is due to the uniform component that illuminates the aperture [i.e., the second term in (II.1)]. The theoretical secondary pattern presented in the revised Fig. II.7 (herein labeled as Fig. II.7a and presented two pages later) is computed using a theoretical primary radiation pattern fitted to the measured primary radiation pattern of the dual polarization feed manufactured by Andrew Canada.

27	2	1-2	change to read: “Eq.II.3 is plotted in the revised Fig.II.7 (now Fig.II.7a) for  and compared with the envelope of sidelobes (the dashed-dotted line) deduced from a pattern measured by Andrew Canada (Paramax Report, 1992, p. C-6) along the 30o cut. All measurements reported herein were made using linear polarization. The 30o cut was chosen…..”

2829 1, 2		replace these two paragraphs with:

The dashed-dotted line is the eye-balled envelope of the sidelobes on the left side of the pattern (p. C-6; Paramax Report, 1992) for the 30o cut that passes through the region clear of the enhanced sidelobes due to spars. The sidelobe slope is approximately 0.4 dB per degree for sidelobes between 6o and 40o (sidelobes between 20 and 40o are not shown in Fig.II.7a—practically all sidelobes measured by Andrew Canada beyond 20o are below the -55 dB level. Theoretical sidelobe levels beyond 6o are principally due to the second term in (II.3). This is the uniform illumination associated with the illumination of the edge of the dish. The higher is the illumination of the edge, the higher are the far out sidelobe levels.

“Figure II.7a also shows measurements of KOUN’s main lobe (i.e., the dots); there is good agreement with the theoretical pattern down to the -15 or -20 dB level. The three data points () are obtained from KOUN pattern measurements after change of feed [i.e., Fig.II.8(c); a 0o cut]. Antenna range artifacts (i.e., scatter from buildings, terrain, etc.) on NSSL’s ad hoc antenna range make it difficult to obtain precise pattern measurements below about -20 dB.  Thus subjective estimates of the sidelobe levels as a function of  are presented as envelopes of the measured patterns that appear to be free of artifacts.

Fig.II.7a KOUN’s () one-way theoretical copolar radiation pattern (solid wavy line) calculated from (II.3) compared with measurements along various cuts. The dashed line is the envelope of KOUN sidelobes, but the dashed-dotted line is obtained from Andrew Canada pattern data along the 30o cut with the singularly polarized (H) feed and without radome. The solid lines (i.e., -26 to -38 dB for  from 2o to 10o and at -42 dB thereafter) are those sidelobe limits specified without radome.

The envelope (dashed line) of measured side lobes for KOUN with radome and along the 0o cut after change of feed is from Fig. II.8(b); this cut passes through the ridge of enhanced sidelobes due to spar blockage (this is the only cut through the main lobe peak that can be made for KOUN). This envelope is obtained from the right side of Fig. II.8(b) and connects the tops of the 2 highest sidelobes in the angular interval between 2o and 10o; the left side sidelobes are even lower. Thus all KOUN sidelobes in the interval from 2o to 10o for the 0o cut fall below the dashed curve! Admittedly these measurements are subject to significant error due to the ad hoc NSSL antenna range, but they provide an approximate measure of the sidelobe levels along the three ridges of enhanced sidelobe due to the three feed support spars.

Returning to the discussion of the dashed dotted lines in Fig.II.7a, the 30o cut sidelobe level of the center-fed WSR-88D reflector is practically the same as that obtained for an offset-fed reflector that has no blockage associated with feed support spars (compare Fig.II.7a with Fig.7 of Bringi, et al., JTECH. 2011). Thus the most significant advantage of the offset parabolic reflector is the lack of a ridge of sidelobes due to spars blocking secondary radiation. These heightened levels of sidelobes can cause meteorological measurement error if the ridge of sidelobes illuminates regions of significantly enhanced reflectivity.

Although the envelope of sidelobes for the 30o cut was measured by Andrew Canada—the NSSL antenna range is not designed to make pattern measurements along cuts other than the 0o cut—for a WSR-88D antenna without radome and with the feed generating H linearly polarized radiation, the Andrew Canada sidelobe “pattern” is also representative of the KOUN sidelobe “pattern” with radome and using the dual polarized feed. That sidelobes of KOUN beyond 20o are below -55 dB is supported by KOUN pattern data presented in Fig.II.4a for the 0o cut; a worst case cut. Thus, we conclude the KOUN sidelobes outside the regions of enhanced sidelobes due to struts has a first sidelobe at about -35 dB at 2o, and sidelobe levels decrease linearly in dB to about-48 dB at 6o, and again decrease at a slower rate to about -55 dB at 20o.

Sidelobes measured for KOUN (i.e., the dashed line in Fig.7a) are a few dB higher than those 0o cut measurement on the right side of the pattern on page C-4 of the Paramax Services Corp., 1992 report—i.e., Paramax, 1992. The pattern measurements on page C-4 were made at the Andrew Canada range for another WSR-88D reflector without a radome whereas the KOUN measurements were made with a radome. The measured KOUN sidelobe level increase over that seen from Andrew Canada’s data is partly due to the radome (Sections II.1.1 and II.1.2.4), but also likely to the less-than-ideal antenna range used for the KOUN measurements. We therefore conclude the KOUN sidelobe levels after installation of Andrew Canada’s dual-pol feed horn is the same as that measured by Andrew Canada on a WSR-88D antenna when a single-pol feed horn illuminated the antenna’s reflector. This conclusion is reasonable and supported by the fact the dual-pol feed is identical to the single-pol feed except an extra port has been added----no change had been made to the conical waveguide and aperture of the feed horn.

The solid lines are the allowed worse case sidelobe levels specified for the antenna without radome. These specified levels were given to Andrew Canada (Paramax, 1992), and are 2 dB lower than specified by the NTR for a WSR-88D with radome. The envelope of the ridge of measured KOUN sidelobes (dashed line) due to spars and radome fall below this specified value, but is considerably higher than the theoretical ones that ignore beam blockage from the spars and feed horn, radome effects, and perturbations of the reflector’s surface.

There are three ridges of heightened sidelobes (dashed lines in Fig. II.1a show the locations of the ridges), and each ridge is estimated to have an azimuthal width of about 3o.The significant enhancement of sidelobes due to spar blockage is also clearly seen in the CSU data (i.e., Fig. II.5a). Moreover, Raytheon has made 2D pattern measurements that also clearly show the ridge of enhanced sidelobes due to three feed horn support struts that block radiation from a WSR-88D reflector (Fig.II.7b—this figure is from a Raytheon Report. We have received selected pages of this report from, I believe NWS/ROC, but we were unsuccessful in finding the full report).

Each of the WSR-88D struts extends from the rim of the reflector to the feed horn which is on the axis of the reflector. Because there are 3 struts on the WSR-88D antenna, there are three ridges of sidelobes each passing through the origin (i.e., the beam axis) each having a beamwidth of about 3o. As the ridge approaches the beam, the ridge occupies a larger azimuthal region of the radiation pattern. Thus these more intense sidelobe ridges mask the weaker sidelobes (i.e., those theoretical sidelobes in absence of spars) near the main lobe. Therefore, there is a large angular region of stronger sidelobes, but still much weaker than the main lobe (i.e., about 30 dB below the main lobe) that, given its large angular extent around the main lobe, could capture sufficiently large unwanted echo power which corrupts accurate meteorological measurements, especially in regions of large reflectivity gradients wherein the main lobe might receiving echoes from important meteorological phenomena (e.g., tornado vortex).

Each of the 3 ridges of sidelobes is perpendicular to the strut that causes the ridge of sidelobes. These sidelobe ridges are labeled in the figure as “strut sidelobes” and are associated with blockage of the radiation from the reflector. In Andrew Canada measurements the antenna is set in a normal configuration (i.e., as it would be for the operational WSR-88D) whereby one of the three struts is vertical. In this configuration the ridges of sidelobes appear along lines of constant azimuth (i.e., they appear straight). But for the measurements made by Raytheon, the antenna was rotated ccw 15o thus causing the ridges of sidelobes to be curved as seen in Fig.II.7b.

Fig.II.7b A two-dimensional radiation pattern of a NEXRAD antenna fabricated by Raytheon Corp.

An unexpected feature of the Raytheon 2D radiation pattern is the additional three sidelobe ridges Raytheon identifies as “backscatter lobes”. Similar ridges of sidelobes are seen in other pattern measurements (Rusch, et al., 1982, and Hartsuijker, et al, 1972) on center fed parabolic reflector antennas having a three spars, and these sidelobes have been theoretically shown to be due to scatter from the feed support spars. These additional ridges of sidelobes were not apparent in the radiation patterns shown of one dimensional cuts at various azimuths through the beam.

However, another look at Andrew Canada’s pattern measurements along the 30o and 90o  cuts (the 90o cut is a vertical cut and one spar lies in the vertical plane) show on one side of the mainlobe an enhanced ridge of sidelobes consistent with being due to spar scatter. An example of the radiation pattern along the vertical cut is given by Doviak and Zrnić (1993, Fig.7.28; unfortunately the abscissa of Fig.7.28 is incorrectly labeled as azimuth, it should be elevation).

From Raytheon’s 2D pattern, it is difficult to estimate the intensity of the three sidelobe ridges due to spar scatter. But we have examined Fig. 7.28 of Doviak and Zrnic (2006) and it appears that the close-in sidelobes are a few to several dB above the theoretical level, and then have a relatively constant level below -45 dB beyond 10o. The estimates of the level of sidelobes due to spar scatter and blockage should apply to all the WSR-88D antennas if the polarimetric upgrades made by Baron Services to the network of WSR-88Ds did not alter spars and aperture illumination.

29	1	1-9	change to read: “The following formula

.					(II.5)

fits well the one-way beamwidth measurements and the beamwidth obtained from the theoretical radiation pattern (i.e., 0.946o from (II.5) and 0.95o from the theoretical radiation pattern. Although this formula applies well for KOUN at the wavelength of 11.09 cm, this theoretical expression also applies well for the WSR-88Ds operating in the band 11.11 to 10 cm (i.e., 2.7 to 3.0 GHz). For example at = 10 cm (II.5) gives  = 0.853o; this compares reasonably well with 0.85o measured by Andrew Canada (Paramax, 1992 pp. C-55, C-57). The Andrew Canada reported beamwidth measurements (i.e., for horizontally polarized waves; the feed used in the legacy radar transmitted only H polarized waves) at each of the selected wavelengths are an average of five measurements made at different cuts across the beam which also showed the beams were circularly symmetric.

Furthermore, measurements made by Seavey Engineering (Baron Radar, 2009, p.22), in 2009 on another WSR-88D reflector illuminated with 11.11 cm H radiation from another dual polarimetric feed gives a beam width of 0.95o, also in good agreement with that derived from the formula. The Seavey feed horn is a dual-pol one and by 2015 all WSR-88D radars have converted to using the Seavey dual-pol feeds. Seavey’s beamwidth measurements were obtained from two pattern cuts (i.e., E and H plane cuts---see errata for p.37 for comments on beam circularity). Moreover, because feed horns are different, there is no expectation that the beamwidths measured by Seavey Engineering should be in exact agreement with those measured by Andrew Canada. Nevertheless, based upon the few available data, the theoretical formulaappears to provide, for the WSR-88D antennas, beamwidths with accuracy better than 0.1o over the entire operating band of frequencies.

The angular diameter of the first null circle (the first null circle is a minimum not a zero) obtained from Fig.II.7a for KOUN is 3.1o. The good agreement of the half power beam width formula for operation in the entire band suggests that the angular diameter of the first null for other WSR-88D radars can be obtained from the formula

(II.6)

The angular diameter of the first null circle defines the main lobe or beam of the antenna. Substituting into (II.6) gives  for KOUN. Comparing with that 3.45o measured by Andrew Canada [i.e., Fig.II.2(b) right panel] and that measured by NSSL for KOUN [i.e., 3.56o from Fig.II.8(c)], it is seen both independent measurements agree to within 0.1 dB, but differ significantly from the 3.1o obtained from (II.6). The measured null location is subject to significant error because the antenna range is not ideal (i.e., measurements more than 20 dB below the main lobe peak are subject to significant errors induced by scatterers on the antenna range). However the null circle diameter obtained from II.6 is in excellent agreement with the theoretical value of 3.12o obtained by interpolating data in Table 2 of Sherman (1970).

2		delete this paragraph because it no longer applies to the revised Eq.II.3.

32	1	6-8	change 1.04o to 0.95o and delete the last sentence.

34	3	2	change to read: “…illustrates that the cross-polar radiation along the…”

9	add: (4) reflection of the copolar beam from the ground and conversion of H polarization to V polarization (and vice versa) from scatterers on the ground, and (5) as it will be argued in an added comment to text on p.37, the possible generation of the TM11 mode in the feed horn causes the formation of a cross-polar peak along the axis of the copolar beam.

4	6-7	delete “whereas the pattern in ………with a   single port feed”

36	1		at the end of this paragraph add:

For example, if the cross-polar and copolar fields are in or out of phase, a null in the on axis radiation would be achieved by rotating the source antenna by  where and  are the cross-polar and copolar field amplitudes along the boresight. Thus a -32 dB on-axis cross-polar peak could be nulled by a 1.4o tilt of the source antenna, a sufficiently small angle that it might not be noticed by eye. If the cross-polar and copolar were in phase quadrature, a minimum in signal having the magnitude of the cross-polar radiation would be observed. Thus nulling the cross-polar radiation by rotating the source antenna requires measurements of its orientation to insure that nearly pure H and V radiation is transmitted or received along the beam axis. Precise orientation measurements would verify whether the antenna under test is transmitting and receiving nearly pure H and V radiation along the beam axis.

37			at the top of this page insert the following paragraph:

A possible support for the contention that an on-axis peak of cross-polar radiation could exist for the WSR-88D (and perhaps for the CSU antenna), we refer to the work of Potter (1963). Potter states that in order to obtain circularly symmetric beams for both the H and V polarized waves from a circularly symmetric feed, a TM11 mode should be excited within the throat of the feed. Potter presents radiation patterns of this feed showing excellent symmetry of the copolar radiation pattern. Potter shows that with only TE11 mode excitation, the H plane beamwidth at the -20 dB level is about 1.3 times larger than the E plane beamwidth. On the other hand, there also is a pronounced on-axis peak in the cross-polar radiation! This peak in cross-polar radiation is about 33 dB below the copolar peak, in remarkable agreement with the WSR-88D cross-polar peak observed in Fig. II.6, suggesting the cross-polar peak could be due to a purposely excited TM11 mode in the throat of the WSR-88D feed. But excitation of the TM11 mode is not the only approach to create a circularly symmetric radiation pattern.

In a telecom (c.a., 20??) with Tom Tralman of ASC Signal (formerly Andrew Canada) it was learned Andrew Canada feed horns (scaled versions are used on NSSL’s 3-cm and OU’s 5-cm radar antennas) are conical having a single TE11 mode, and a choke flange that not only reduces currents on the outside of the horn, but also makes the beam more circularly symmetric as seen in beamwidth measurements along five cuts through the copolar beam (Paramax  Report, 1992); thus significant cross-polar radiation along the copolar beam axis caused by a TM11 mode in Andrew Canada’s feed horns is not likely..

Therefore it is concluded the prominent cross-polar lobe coaxial with the copolar beam, seen both in Andrew Canada’s and NSSL’s measurements, is an measurement artifact caused by cross-polar coupling in reflection from the ground when the copolar main lobe is at a low elevation angle needed to make far field pattern measurements at the respective antenna ranges.

In support of this contention, the cross-polar field measured by Andrew Canada for OU’s 5-cm radar antenna exhibits a deep null along the beam axis suggesting its narrower copolar beam (i.e., 0.5o vs 1.0o for the WSR-88D—Zrnic et al 2010) illuminates the ground more weakly than the broader WSR-88D beam. Moreover, cross-polar pattern measurements made by Seavey Engineering also shows a deep cross-polar null along the copolar beam although the beam width is 1o. Because Seavey Engineering’s antenna range has a drop in the terrain between the WSR-88D antenna and the radiation source in the far field, the lack of a cross-polar beam coaxial with the copolar beam in their data can be attributed to weaker ground reflection. Baron Services subcontracted Seavey Engineering to build and test its dual polarimetric feedhorn illuminating a WSR-88D antenna; this feed horn was eventually installed on the network of WSR-88D radars.

The symmetry of WSR-88D radiation patterns measured by Seavey Engineering was also checked. An examination of the 3 dB beamwidths at frequencies between 2.7 and 3.0 GHz suggest that there is less than 0.1O difference in the E and H plane beamwidths. Although measurements along other cuts were not made, the agreement in beamwidths for the two cuts suggests the beam is circularly symmetric. Thus the deep null of the cross-polar field along the beam axis, and the inferred circularly symmetry of the beam pattern, suggests that the Seavey feed horn design also generates a single TE11 mode and has a choke flange to make the copolar radiation pattern to be circularly symmetric!

Therefore, it is concluded both Andrew Canada’s and Seavey Engineering’s feedhorns likely produce radiation from the WSR-88D reflector that  has cross-polar fields with a quad of four cross-polar lobes surrounding the copolar beam and a null of cross-polar radiation along the copolar beam.

1		delete the first sentence and last sentence and modify the paragraph to “Comparing the CSU and WSR-88D… beyond 9o, so we are unable to make comparisons of levels far removed from the main lobe. The significantly higher sidelobe levels of the CSU antenna are simply due to the fact that these higher sidelobes are along a ridge of sidelobes due to spar blockage whereas the WSR-88D radiation field does not have a ridge of enhanced sidelobes along the 45o cut.”

On the other hand, measurements presented by Chandrasekar and Keeler (JTECH, 1993) of copolar fields along a cut between the four struts of NCAR’s CP-2 10 cm weather radar show sidelobes to be not significantly lower than along the cuts that contain the ridge of enhanced sidelobe levels due to the spars (compare Figs 4 and 8). This observation suggests that the cause of sidelobes of NCAR’s and CSU’s antenna being significantly higher than those of the WSR-88D is not associated with struts, but perhaps is rooted in the design of the feed horn’s radiation pattern, higher rms errors of the reflector’s surface, or the poor performance of their ad hoc antenna  range.

2		last line: Change II.6.4 to II.6.7.

39	1	1	change “Section II.3” to “Section II.6.2”

40	1		after paragraph 1, add the following paragraphs: Another interesting feature of the cross-polar field of Fig.II.11 (c) is the absence of a quad of prominent lobes of cross-polar radiation along the 45o lines as suggested by Fradin (1961). That is, center fed parabolic reflector antennas illuminated with linear polarization exhibit a quad of four major lobes symmetrically located around the copolar beam and about a beam away. Because Fig.II.11 (c) shows only the lower half of the radiation pattern, two of the four lobes would have been visible if they had peaks of significant value. The quad of 4 cross-polar lobes with peaks about 27 dB below the copolar peak are seen in the cross-polar measurements made by Raytheon on their competing WSR-88D antenna. Such high peaks, if present in the Andrew Canada design would have been seen in Fig.II.11 (c). On the other hand, simulations of the copolar and cross-polar patterns of the WSR-88D antenna illuminated with linear polarization, and using the aperture distribution computed for the Andrew Canada feed horn, show four significant lobes each -35 dB below the copolar peak (Lei et al., 2015; IEEE TGARS). Practical reflector antennas have circular feed horns transmitting the TE11 mode of radiation which reduces the amplitude of four cross-polar peaks (Fradin; 1961), Thus the differences in levels of cross-polar peaks could be due to differences in the magnitude of the TE11 feed horn field intensity as well as the aperture distribution function. These two factors might account for the absence of prominent cross-polar lobes in Fig.II.11 (c).

2		at the end of this paragraph add: On the other hand, because the antenna range is not ideal, achieving a null by rotating the standard gain horn does not necessarily imply that the null is a characteristic of the cross-polar pattern as discussed in the next paragraph,

41	0	6	 change “less” to “more”

7-8	 change to: “…a few dB below this level (i.e., -33 dB) could also be in error as mentioned in Sections II.6.5 and II.6.7. Thus it is not surprising that KOUN’s copolar sidelobes….”

0		at the end of this paragraph add:  “To obtain better measurements of the cross-polar fields, we made additional measurements described in Section II.6.7.

42	2	4	change “Section II.6.7” to “Section II.6.6”

44 	1	2	(Figs.II.13a, b) should be (Figs.II.11a, b).

46	1	5	insert after “…dB level.”: The significant differences at azimuths larger than plus/minus 1o could be due to scatter from artifacts (i.e., buildings, utility poles, tress, etc.) associated with the antenna range in Norman,. Also, bear in mind…”

10	change to: “…scan for the 0o elevation cut are more likely…

11	delete this last line.

46			the equation should be placed after the second line of the third paragraph

49	2	1	change to read: “Cross-polar radiation (e.g., Av) combines with copolar radiation (e.g., AH) to form, in general, ….”

9	change to: “….(Fig.II.A.1 in which the ellipse collapses to a line for linear polarization).  is positive…”

3	1	change to: “..between the vertical (cross-polar) and the horizontal (copolar) fields is not 0…”

Eq (II.8)	the equality symbol should be replaced by an approximation symbol.

5	change to: “….Appendix (i.e., Section II.8)…”

6	delete the parenthetical phrase.

7	change “receiver” to “transmitter”.

50	2	3	change to: “…The standard gain horn, transmitting H or V polarized waves, was rotated until a minimum was established in the KOUN’s V or H receive channel. That a minimum was achieved and not a zero (i.e., not a sharp and deep null) suggests the cross-polar field is in phase quadrature to the on-axis copolar field. The amount of ….”

Fig.II.A.1		replace Evo and EHo respectively with Av and AH.

55	3	4	change to: ....which RHC (or LHC) was chosen for transmission and LHC (or RHC) was chosen for reception....

56	Eq.(III.1)	for modifications to this equation if the antenna transmits both copolar and cross-polar waves , see Supplements on pages 240-241 in the errata to the book “Doppler Radar and Weather Observations” Academic Press, 1993. These errata are periodically updated and posted on NSSL’s website at www.nssl.noaa.gov. In the “Quick Links” box select “Publications” to open the page to select “Recent Books” to find the book and listed Errata for the 3rd and 4th printings.

57	0	5	change “polarizabilities” to “susceptibilities”.

11-12	modify these lines to read: “.... the wave normal k, the apparent canting angle, the true canting angle , and .”

1	12	change to read:....because 4π<|shh|2> ( σb (McCormick and Hendry, 1975), it is seen....”

58	0	1	change to read: “......scatterer’s properties X.”

61	4	5	last line change to: “….the incident field. Canting angles are…”

62	0	8-9	modify to read: “is the phase difference between the scattered H and V waves incident on the antenna in absence of canting angle dispersionassuming the phase difference of the H and V waves at the transmitter is zero.  is ..…power loss factor.”

1	1	change to: “The transformation matrix , which relates…”

2	change to: “….[Eth, Etv] as it leaves the antenna to the polarization state of the scattered field vector [Erh, Erv] returned to the antenna, is,

(III.22)		delete the first matrix.

After (III.22) insert:

In the balance of section III.1 it is assumed H, V waves are alternately transmitted, but simultaneously received (i.e., the ATSR mode). Assuming there is no cross-coupling within the antenna (i.e., the antenna does not transmit or receive cross-polar fields) and the transmitted field intensities with horizontal or vertical polarization are equal, the normalized signals received are:

in which the normalized transmitted Eth (i.e., = [1, 0] ) and Etv are assumed to have unit amplitudes. Thus voltages [Vrh, Vrv] received in the H and V channels are alternately copolar and cross polar. The copolar echoes are used to compute , the observed differential reflectivity, and the cross-polar echoes are used to compute , the observed linear depolarization ratio.

(III.23)		Modify (III.23) to read as

(III.23)

where is proportional to the mean echo power received in the H channel when the H transmit port is excited (i.e., is the copolar echo power), and  is the mean echo power received in the V channel when the V transmit port is excited, Zdr is the intrinsic…….

.

8	change to: “… resolution volume), and the diacritical tilde (~) denotes a measured parameter.”

9	change to: “…..transmission loss factor. In stratified….”

63	1	1	change to

64	0	1	change to read: ...a column vector [Er, El]t of the circularly polarized....

2	change to read: ....is the column vector [Eh, Ev]t for linearly polarized waves, and....

Eq.III.28	the first and last matrices of this equation should be

Eq.III.29	the signs of ‘j’ need to be changed

65	Eq.III.31	sign of ‘j’ needs to be changed (note the polarity of ‘j’ in Eqs.30 and 31 are opposite to that used by Torlaschi and Holt in order to be consistent with the convention chosen in our report)

2	2	change III.3.0 to III.30

Eq.III.32	sign of ‘j’ in the lower of the two equations needs to be changed

2	5	delete “a solution valid even if drops are not equi-oriented”

Eq.III.33	the ‘j’ sign multiplying φDP needs to be +, and <shhsvv*> should be <shh*svv>.

66	1	1	Change III.3.3 to III.33

Eqs.III.34, 35	make the same changes as done for Eq.III.33

1	13	change III.3.5 to III.35

Eq.III.36	the sign multiplying the Real part in the numerator needs to be +

3	5	change to read: ....., which is often the product of....

67	2	7	change copolar to cross-polar

70	1	8	delete “linear”

83	2	3	modify to read:......and that all drops are of the same size and shape, and that they do not vibrate nor are they canted within

84	0	9	change to read: Because all drops are identical, the Vh’......

94	Fig. IV.7	change caption to read: .....ZDR varies from -1 to +3 dB in the .......

95	2	2	change ZDP to KDP at both places

98	Eq.IV.29	change to and  to

1	1	change to

2	change  to ; delete at the beginning of the sentence and change to read: This bias, obtained from (IV.29), is plotted.....

98-100 last line	change to read: ...the added change in KDP would be about 0.03o km-1...

100	1	7-8	change to read:......the capability to simultaneously transmit H, V waves, but to alternately receive the reflected H, V waves in a single receiver through the use of a low power switch; this mode of operation......

101 Fig. IV.12		labels on some of these figures are incorrect. The dimension of KDP is degree per km; ρhv has no dimension, and ZDR has dimensions of dB.

List of References	Insert: Potter, P. D., 1963: A new horn antenna with suppressed sidelobes and equal beamwidths. The Microwave Journal, June, pp. 71-78.

# Footnotes

Rusch, W. V. T., O. Sorenson, and J. W. M. Baars, 1982: Radiation Cones from Feed Support Struts of Symmetrical Paraboloidal Antennas, IEEE Trans. Antenna and Prop., AP-30, No. 4, 786-790.

Hartsuijker, A. P., J. W. M. Baars, S. Drenth, and L. Gelato-Volders, 1972: Interferometric Measurements of paraboloidal antenna at Dwingeloo radio observatory, IEEE Trans. Antennas and Prop., AP-20, 2, 166-176

Potter, P. D., 1963: A new horn antenna with suppressed sidelobes and equal beamwidths. The Microwave Journal, June, pp. 71-78.